# Medical Device Classification System

Project Delivery Documentation

## Executive Summary

This document provides comprehensive documentation for the Medical Device Classification System - a deterministic, training-based solution for classifying medical devices according to MDR 2017 and CDSCO guidelines.

Key Features:

- 100% deterministic classification using pattern matching and rule evaluation

- Trained on 11 comprehensive real-world examples covering Classes A through D

- Zero dependency on LLM for core extraction and classification logic

- CDSCO database search before rule application

- Complete 7-step workflow from upload to PDF report generation

- Professional PDF reports with full justification and rule traces

## System Architecture

The system follows a strict 7-step workflow designed to ensure complete, accurate classification while maintaining full transparency and regulatory compliance.

### Workflow Steps

- Upload/Paste Intended Use: User provides input via text paste, PDF upload, or training example selection

- Extract & Normalize: Pattern-matching engine extracts structured fields using training data

- Completeness Check: Deterministic validation ensures all classification-critical fields are present

- Confirm Intended Use: User reviews and confirms the generated formal intended use statement

- Database Search: System searches CDSCO reference database for existing similar devices

- Classification: If no database match, MDR 2017 rule engine evaluates D→C→B→A

- Download Report: Professional PDF report with classification, justification, and full details

## Core Components

### 1. Extraction Engine (extraction_engine.py)

Purpose: Extract and normalize intended use fields using pattern matching learned from training examples.

Key Methods:

- extract(text): Main extraction using regex and keyword patterns

- check_completeness(extracted): Validates all required fields present

- create_canonical_object(extracted): Formats into standard classification object

- generate_intended_use(canonical): Produces formal intended use statement

### 2. Rule Engine (rule_engine.py)

Purpose: Apply MDR 2017 classification rules deterministically. Evaluates highest risk first (D→C→B→A) and stops at first match.

Classification Rules:

| Class | Key Triggers | Example |
| --- | --- | --- |
| D | Implantable active CNS/cardiac device, Life-supporting | Deep brain stimulator |
| C | Long-term surgically invasive, Active drug delivery, Vital monitoring in critical care | Infusion pump, Orthopedic implant, NICU monitor |
| B | Active non-invasive monitoring/diagnostic | Wearable cardiac monitor |
| A | Non-invasive passive, transient contact | Adhesive wound dressing |

### 3. Database Search (database_search.py)

Purpose: Search CDSCO reference database before applying rules. Uses multi-factor similarity scoring.

Scoring Factors:

- Keyword Similarity (40%): Overlap between input and database keywords

- Text Similarity (30%): Sequence matching of intended use statements

- Category Similarity (30%): Comparison of classification characteristics

## Training Data

The system is trained on 11 comprehensive examples that cover the full range of device classes and types:

| Device Name | Type | Class |
| --- | --- | --- |
| CardioBand | Wearable cardiac monitor | B |
| PainRelief Patch | Transdermal drug delivery | A |
| OrthoFix Bone Screw | Orthopedic bone fixation implant | C |
| NeuroPulse DBS System | Implantable deep brain stimulator | D |
| 7 additional examples | Monitors, software, surgical devices | A-C |

## Project File Structure

| File | Description |
| --- | --- |
| app.py | Main Streamlit UI application - 7-step workflow |
| extraction_engine.py | Pattern-based field extraction from training data |
| rule_engine.py | MDR 2017 deterministic classification rules |
| database_search.py | CDSCO reference database search engine |
| training_data.py | 11 training examples with canonical objects |
| pdf_extractor.py | PDF text extraction (digital + OCR support) |
| pdf_generator.py | Professional PDF report generation |
| requirements.txt | Python package dependencies |

## Installation & Usage

### Quick Start

For macOS/Linux:

./run.sh

For Windows:

run.bat

The launcher scripts will automatically create a virtual environment, install dependencies, and start the application.

### Manual Installation

1. Install dependencies:

pip install -r requirements.txt

2. Run application:

streamlit run app.py

The application will open in your default browser at http://localhost:8501

## Key Design Decisions

### 1. Zero LLM Dependency for Core Logic

All extraction and classification is performed using deterministic algorithms. Pattern matching is learned from training examples, not generated by LLM. This ensures:

- Consistent, reproducible results

- Full transparency and auditability

- Regulatory compliance and explainability

- No risk of hallucination or inconsistency

### 2. Training-Based Pattern Learning

The system builds extraction patterns from 11 comprehensive training examples. Each example includes:

- Raw input text (as users would provide)

- Complete canonical classification object

- Expected classification result

- Formal intended use statement

### 3. Database-First Approach

The system always attempts to find existing CDSCO database matches before applying rules. This:

- Leverages regulatory precedent

- Reduces processing time

- Provides additional validation

- Identifies similar approved devices

### 4. Explicit Uncertainty Handling

The rule engine makes up to 2 classification attempts. If still uncertain, it explicitly declares 'UNCERTAIN' rather than forcing a classification. This ensures:

- No incorrect classifications

- Clear indication when manual review is needed

- Borderline cases properly flagged

## Regulatory Compliance

MDR 2017 Alignment:

- Classification rules directly implement MDR 2017 First Schedule

- D→C→B→A evaluation order follows regulatory guidance

- All rule triggers are based on regulation text

CDSCO Guidelines:

- Licensing authority assignment follows CDSCO rules

- Class A/B → State Authority

- Class C/D → Central Authority (CDSCO)

Auditability:

- Complete rule trace in every classification

- Canonical object shows all decision inputs

- PDF reports include full justification

- No black-box LLM decisions

## Future Enhancements

### Recommended Additions

- Live CDSCO Database Integration: Replace static reference database with live API integration

- Advanced OCR: Implement full pdf2image + Tesseract pipeline for scanned PDFs

- Multi-Language Support: Add support for regional languages beyond English

- Batch Processing: Enable classification of multiple devices simultaneously

- API Endpoint: Create REST API for integration with other systems

- Admin Dashboard: Add interface for managing training examples and rules

- Version Control: Track classification history and rule changes over time

## Important Disclaimers

⚠ Regulatory Review Required

This system is a decision support tool and does NOT replace qualified regulatory professionals. All classifications must be reviewed and validated by regulatory experts before submission to licensing authorities.

Scope of Use:

- Intended for preliminary classification guidance

- Supports regulatory strategy development

- Facilitates internal device categorization

- NOT a substitute for official regulatory determination

Accuracy Considerations:

- Novel devices may not match training patterns

- Borderline cases require expert judgment

- Regulatory interpretations may vary

- System declares 'UNCERTAIN' when appropriate

## Contact & Support

For questions, issues, or enhancement requests:

- Review the README.md for detailed documentation

- Check QUICKSTART.md for common issues and solutions

- Examine training examples for similar device types

- Review rule traces to understand classification logic

Medical Device Classification System v1.0

Based on MDR 2017 and CDSCO Medical Device Rules